## Revision Tracking
| Current Version | Score Card_ GM2015_R3
| The latest version of the score card is available for download, pls download online |  | Download here
History of amendments
S/N | Version No. | Remarks/Brief Description of changes | Effective date
1 | Score Card_ GM2015_R1.01 | Amended computation for 4.01b(iv) | 14th Mar 2018
2 | Score Card_ GM2015_R1.02 | Corrected text for 1.02b(ii) | 1st Apr 2018
3 | Score Card_GM2015_R2 | Reflect latest criteria, released on 1 Aug 2018 | 1st Aug 2018
4 | Score Card_GM2015_R3 | Minor updates | 15th Feb 2020
BCA Green Mark for Non-Residential Buildings
GM NRB: 2015
GM NRB 2015 Score Card

## Score Summary
PROJECT SCORE SUMMARY |  |  |  |  | PROJECT SCORE SUMMARY
|  | POINTS AVAILABLE | POINTS SCORED | VERIFICATION |  |  | POINTS AVAILABLE | POINTS SCORED | VERIFICATION
PART 1 – CLIMATIC RESPONSIVE DESIGN |  | 30 | 0 |  | PART 4 – SMART AND HEALTHY BUILDING |  | 30 | 0
P.1 | Envelope and Roof Thermal Transfer |  | Non-Compliant |  | P.8 | Thermal Comfort |  | Non-Compliant
P.2 | Air Tightness and Leakage |  | Non-Compliant |  | P.9 | Minimum Ventilation Rate |  | Non-Compliant
P.3 | Bicycle Parking |  | Non-Compliant |  | P.10 | Filtration Media for Times of Pollution |  | Non-Compliant
1.1 | LEADERSHIP | 10 | 0 |  | P.11 | Low Volatile Organic Compound (VOC) Paints |  | Non-Compliant
1.1a | Climatic & Contextually Responsive Brief | 1 | 0 |  | P.12 | Refrigerants |  | Non-Compliant
1.1b | Integrative Design Process | 4 | 0 |  | P.13 | Sound Level |  | Non-Compliant
1.1c | Environmental Credentials of Project Team | 2 | 0 |  | P.14 | Permanent Instrumentation for M&V of AC |  | Non-Compliant
1.1d | User Engagement | 3 | 0 |  | P.15 | Electrical Sub-Metering & BMS |  | Non-Compliant
1.2 | URBAN HARMONY | 10 | 0 |  | 4.1 | INDOOR AIR QUALITY | 10 | 0
1.2a | Sustainable Urbanism | 5 | 0 |  | 4.1a | Occupant Comfort | 2 | 0
1.2b | Integrated Landscape and Waterscape | 5 | 0 |  | 4.1b | Outdoor Air | 3 | 0
1.3 | TROPICALITY | 10 | 0 |  | 4.1c | Indoor Contaminants | 5 | 0
1.3a | Tropical Facade Performance | 3 | 0 |  | 4.2 | SPATIAL QUALITY | 10 | 0
1.3b | Internal Organisation | 3 | 0 |  | 4.2a | Lighting | 6 | 0
1.3c | Ventilation Performance | 4 | 0 |  | 4.2b | Acoustics | 2 | 0
PART 2 – BUILDING ENERGY PERFORMANCE |  | 30 | 0 |  | 4.2c | Wellbeing | 2 | 0
P.4 | Air Conditioning Efficiency |  | Non-Compliant |  | 4.3 | SMART BUILDING OPERATIONS | 10 | 0
P.5 | Lighting Efficiency and Controls |  | Non-Compliant |  | 4.3a | Energy Monitoring | 3 | 0
P.6 | Vertical Transportation Efficiency |  | Non-Compliant |  | 4.3b | Demand Control | 3 | 0
2.1 | ENERGY EFFICIENCY | 22 | 0 |  | 4.3c | Integration and Analytics | 3 | 0
2.1a | Air Conditioning Total System Efficiency | 5 | 0 |  | 4.3d | System Handover and Documentation | 1 | 0
2.1b | Lighting System Efficiency | 3 | 0 |  | PART 5 – ADVANCED GREEN EFFORTS |  | 20 | 0
2.1c | Carpark System Energy | 2 | 0 |  | 5.1 | Enhanced Performance | 15 | 0
2.1d | Receptacle Energy | 1 | 0 |  | 5.2 | Complementary Certifications | 1 | 0
2.1e | Building Energy | 11 | 0 |  | 5.3 | Demonstrating Cost Effective Design | 2 | 0
2.1f | Space Conditioning Performance | 10 | 0 |  | 5.4 | Social Benefits | 2 | 0
2.1g | Lighting System Performance | 6 | 0 |  | Annexes |  | 15 | 0
2.1h | Building Systems Perfomance | 6 | 0 |  | 1 | Hawker Centres | 15 | 0
2.2 | RENEWABLE ENERGY | 8 | 0 |  | 2 | Healthcare Facilities | 10 | 0
2.2a | Solar Energy Feasibility Study | 0.5 | 0 |  | 3 | Laboratory Buildings | 10 | 0
2.2b | Solar Ready Roof | 1.5 | 0 |  | 4 | Schools | 10 | 0
2.2c | Adoption of Renewable Energy | 6 | 0
PART 3 – RESOURCE STEWARDSHIP |  | 30 | 0 |  | GREEN MARK TOTAL |  | 120 | 0
P.7 | Water Efficient Fittings |  | Non-Compliant |  | GREEN MARK AWARD TARGET: |  | Platinum | 70 and above
3.1 | WATER | 8 | 0 |  | GREEN MARK AWARD LEVEL |  |  | Non-Compliant
3.1a | Water Efficient Systems | 3 | 0
3.1b | Water Monitoring | 2 | 0
3.1c | Alternative Water Sources | 3 | 0
3.2 | MATERIALS | 18 | 0
3.2a | Sustainable Construction | 8 | 0
3.2b | Embodied Carbon | 2 | 0
3.2c | Sustainable Products | 8 | 0
3.3 | WASTE | 4 | 0
3.3a | Environmental Construction Management Plan | 1 | 0
3.3b | Operational Waste Management | 3 | 0

## Part 1 - CRD
PART 1 – CLIMATIC RESPONSIVE DESIGN
PRE-REQUISITES |  |  |  | COMPLY | COMMENTS
P.1 | Envelope and Roof Thermal Transfer |  |  |  |  | FALSE
P.2 | Air Tightness and Leakage |  |  |  |  | FALSE
P.3 | Bicycle Parking |  |  |  |  | FALSE
1.1 | LEADERSHIP | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
ADVANCED GREEN EFFORTS |  |  | 3 | 0
1.1a | Climatic & Contextually Responsive Brief |  | 1 | 0
Minimum Requirement for GoldPlus and Platinum at 1 point
Create climatic and culturally responsive brief including target setting. This could also include the client’s sustainable aspirations for the project, and identification of its green potential benchmarked against similar projects | [5 empty] | FALSE
1.1b | Integrative Design Process |  | 4 | 0
Minimum Requirement for GoldPlus and Platinum at 2 points
(i) Integrative Team |  |  | 2 | 0
Establishment of collaborative framework for the project team during the briefing, concept design and technical design phase to address the various needs of all stakeholders to achieve the common targets results in a more balanced and optimized design outcome. | [5 empty] | FALSE
(ii) Involvement of FM Manager |  |  | 1 | 0
Involve Facility Manager (FM) in the design stage and incorporating his inputs into design. | [5 empty] | FALSE
(iii) Use of BIM |  |  | 2 | 0
Coordinated use of BIM between various parties (the Architect, MEP Engineers and Structural Engineer) in the construction value chain for clash detection purposes. • Collaborative BIM • Green BIM | [5 empty] | FALSE | FALSE
4D, 5D & 6D BIM (Advanced Green Efforts) |  |  | 3 | 0
(i) 4D BIM (Time) (ii) 5D BIM (Cost) (iii) 6D BIM (Facilities management) | [5 empty] | FALSE | FALSE | FALSE
1.1c | Environmental Credentials of Project Team |  | 2 | 0 |  | 0 | 0 | 0 | 0
Green Individuals: • No. of Green Mark Accredited Professional [GMAP] or Green Mark Accredited Professional (Facilities Management) [GMAP (FM)] = • No. of Green Mark Advanced Accredited Professional [GMAAP] or Green Mark Advanced Accredited Professional (Facilities Management) [GMAAP (FM)] = Green and Gracious Builder: Level of BCA Green and Gracious Builder certification • Certified or Merit • Excellent or Star Green Companies: • No. of ISO 14001 certified consultants = • No. of SGBC Green Services Certified firm = |  | 0 |  |  |  | N.A.
|  | 0 |  |  |  | Certified
FALSE
FALSE
|  | 0 |  |  |  | Merit
|  | 0 |  |  |  | Excellent
1.1d | User Engagement |  | 3 | 0
Minimum Requirement for Gold, GoldPlus and Platinum at 1 point | [5 empty] | 0
Provision of relevant information and guidance to building occupants as to how they can contribute positively to the reduction of the building’s environmental impact. • Building User Guide • Sustainability Education Corner • Sustainability Awareness & Education Programme • Green Fit-out Guidelines • Displaying Green Mark Credential • Green Lease: % of net lettable area = % | [5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
|  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
1.2 | URBAN HARMONY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
ADVANCED GREEN EFFORTS |  |  | 2 | 0
1.2a | Sustainable Urbanism |  | 5 | 0
(i) Environmental Analysis |  |  | 2 | 0 |  | 0
A framework to guide project teams in making environmental impact decisions to prevent unnecessary site degradation. • Environmental Study • Conducting an Environmental Impact Assessment by 3rd Party (EIA) | [5 empty] | FALSE | FALSE
Creation of possible new ecology and natural ecosystems (Advanced Green Efforts) |  |  | 1 | 0
Project provides details and strategies in the EIA on how the project will enhance the site ecology beyond its current state. Regenerative features should be quantified in terms of overall net performance vs the building not being constructed and the current remaining site. Agreed metrics shall be used and tracked during project completion. | [5 empty] | FALSE
(ii) Response to Site Context |  |  | 3 | 0 |  | 0
Demonstration of how the site topography, microclimate, access and connectivity has informed the development of building design. • Level 1 site analysis and design that demonstrates sensitivity to site conditions • Level 2 analysis and optimised design via iterative simulation | [5 empty] | FALSE | FALSE
(iii) Urban Heat Island |  |  | 1 | 0
Mitigation of UHI effect through material selection of hardscape, softscape and building surfaces. % Site Coverage with demonstration of mitigation measures = % |  | 0
(iv) Green Transport |  |  | 2 | 0
Reduction of the emissions from vehicular transport through: • Provision of electrical vehicle charging and parking infrastructure for vehicles or to facilitate electric car-sharing service • Meet the prevailing lower bound requirement of RCPS by LTA • Provision of bicycle lots above LTA's requirement at least 1 bicycle parking lot per 1,500m2 of GFA (Up to 30 lots) • Additional features to promote bicycle usage | [5 empty] | FALSE | FALSE | FALSE | FALSE
1.2b | Integrated Landscape and Waterscape |  | 5 | 0
Minimum Requirement for GoldPlus and Platinum at 2 points for Commercial buildings, 1 point for others
(i) Greenery Provision |  |  | 3 | 0 |  | 0 | 0.5 | 1 | 2 | 3 | 4 | 5
Greenery provision to enhance biodiversity and provide visual relief to residents. GnPR = (Total leaf area of greenery within site)/(Total site area) GnPR = |  | 0 |  |  |  | 0 | 0.5 | 1 | 2 | 2.5 | 3 | 3
GnPR ≥ 5.0 (Advanced Green Efforts) |  |  | 1 | 0 | [7 empty] | 1
Project has GnPR ≥ 5
(ii) Tree Conservation |  |  | 1 | 0
• Preservation of existing trees on-site to prevent disturbance to established habitats • Replanting of an equivalent number of equivalent LAI for felled trees | [5 empty] | FALSE | FALSE
(iii) Sustainable Landscape Management |  |  | 1.5 | 0 |  | 0
• Projects certified under NParks Landscape Excellence Assessment Framework (LEAF) certification; OR • Adoption of native species of greenery for > 50% of selected flora • Projects that scored full points under 1.2a(i) Environmental Impact Assessment (EIA) • Provision of landscape management plan | [5 empty] | FALSE | FALSE | FALSE | FALSE
(iv) Sustainable Storm Water Management |  |  | 1 | 0 |  | 0
• Projects certified under PUB Active, Beautiful and Clean Waters (ABC Waters) certification; OR • Treatment of runoff from total site area = % |  | 0 |  |  |  | FALSE
1.3 | TROPICALITY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
ADVANCED GREEN EFFORTS |  |  | 3 | 0
1.3a | Tropical Facade Performance |  | 3 | 0
• Meeting / exceeding the limits in Table 1.3a-2 and Table 1.3a3 • Meeting / exceeding limits in Table 1.3a-1 and Table 1.3b-1 through building simulation Points Scored = |  | 0
Low heat gain façade (Advanced Green Efforts) |  |  | 1 | 0
Achieving ETTV < 35W/m2 | [5 empty] | FALSE
Vertical Greenery on the East and West Façade (Advanced Green Efforts) |  |  | 1 | 0
% Greenery on Applicable Façade Area = % |  | 0
Thermal Bridging (Advanced Green Efforts) |  |  | 1 | 0
Use of SGBC-certified thermal break / insulation profiles to achieve U-values of < 6.0W/m2 K for ≥ 80% of external facades adjoining air-conditioned interiors | [5 empty] | FALSE
1.3b | Internal Spatial Organisation |  | 3 | 0 |  | 0 | 0
• Locating non-air-conditioned spaces on east and west facing walls •Covering 2/3 of E-W Facing Walls •Covering 1/3 of the E-W Facing Walls •No. of Air-conditioned Transient Common Spaces = •No. of Mechanically Ventilated Transient Common Spaces = •No. of Naturally Ventilated Transient Common Spaces = | [5 empty] | FALSE
FALSE
0
0
0
1.3c | Ventilation Performance |  | 4 | 0
Minimum Requirement for GoldPlus at 0.4m/s, Platinum at 0.6m/s |  | 0 |  |  |  | 0 | 0 | 0 | 0 | 0
Ventilation Performance Checklist • Openings towards Prevailing Wind directions (including Atria) % of units or rooms with openings facing prevailing winds = % • Limiting depth for effective ventilation, where W<2H for Single-sided Ventilation or W<5H for Cross Ventilation % of applicable spaces meeting depth requirement = % CFD Simulation • ≥ 70% of naturally ventilated areas to meet minimum wind velocity (If not met, refer to Annex A for Thermal comfort and Air quality criteria) Average Wind Velocity = m/s Where Wind Velocity result cannot be met, thermal comfort or air quality modeling should be performed: Thermal Comfort, PMV = Air Change Rate = Air Exchange Efficiency =
0
0
NA
0
0
Wind Driven Rain Simulation (Advanced Green Efforts) |  |  | 1 | 0
Use of wind driven rain simulation modelling to identify the most effective building design and layout that minimises the impact of wind-driven rain into naturally-ventilated occupied spaces | [5 empty] | FALSE
PART 1 – SCORE |  |  | 30 | 0
ADVANCED GREEN EFFORTS |  |  |  | 0
Additional Notes:
0
0
0
0
0
0
0
0
0
0
0
NA
0
0
0
0
0
0
0

## Part 2 - BEP
PART 2 – BUILDING ENERGY PERFORMANCE
PRE-REQUISITES |  |  |  | COMPLY | COMMENTS
P.4 | Air Conditioning Total System and Component Efficiency |  |  |  |  | FALSE
P.5 | Lighting Efficiency and Controls |  |  |  |  | FALSE
P.6 | Vertical Transportation Efficiency |  |  |  |  | FALSE
2.1 | ENERGY EFFICIENCY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 22 | 0 |  | 0
ADVANCED GREEN EFFORTS |  |  | 6 | 0
OPTION 1: Energy Performance Points Calculator (Pls check if score based on this option) | [5 empty] | FALSE
2.1a | Air Conditioning Total System Efficiency |  | 5 | 0 |  | 0
Baseline for the following building cooling load (RT): • < 500 RT = 1.08 • ≥ 500 RT = 0.98 Points can only be scored if the air distribution system efficiency does not exceed 0.28 kW/RT (0.2 point for every % improvement from baseline, up to 5 points) % Improvement from baseline = % |  | 0
2.1b | Lighting System Efficiency |  | 3 | 0 |  | 0
Baseline = Maximum lighting power budget stated in SS530 : 2014 (0.1 point for every % improvement from baseline, up to 3 points) % Improvement from baseline = % |  | 0
2.1c | Carpark System Energy |  | 2 | 0 |  | 0
Energy Performance Points Calculator shall be used to calculate the savings of the car park energy systems. For projects with no carpark, full points will be given. (0.05 point for every % improvement from baseline, up to 2 points) % Improvement from baseline = % |  | 0
2.1d | Receptacle Energy |  | 1 | 0 |  | 0
For non-speculative buildings, collaboration with occupants to procure energy efficient receptacle equipment will be awarded for Energy Reduction in Receptacle Load. (0.025 point for every % improvement from baseline, up to 1 point) % Improvement from baseline = % |  | 0
% of functional area = % |  | 0 |  |  |  | 0
% Improvement from baseline X % of functional area = %
2.1e | Building Energy |  | 11 | 0 |  | 0
Reduction of the total energy of the base building, calculated with Energy Performance Points Calculator. (Points Rewarded = (% improvement from baseline) / 3, up to 11 points) % Improvement from baseline / 3 = % |  | 0
Further Improvement in Design Energy Consumption (Advanced Green Efforts) |  |  | 2 | 0 |  | 0
Any further improvement from baseline can be further rewarded based on the same formula.
OPTION 2: Performance-Based Computation (Pls check if score based on this option) | [5 empty] | FALSE
2.1f | Space Conditioning Performance |  | 10 | 0 |  | 0 | 0 | 0
• Natural Ventilation | [5 empty] | 0 | 0 | 0
% of functional area as NV = % Design as Natural Ventilated Score for 1.3c |  | 0
|  | 0 |  |  |  | FALSE
• Mechanical Ventilation
% of functional area as MV = % % improvement from baseline stated in SS553 = % |  | 0
0
• Air-Conditioning
% of functional area as AC = % % Improvement from baseline = % |  | 0 |  |  |  | FALSE
0
Efficient Space Conditioning Energy Design (Advanced Green Efforts) |  |  | 1 | 0 |  | 0
• Achieving 0.65kW/ton TDSE • Achieving 0.70kW/ton TDSE | [5 empty] | FALSE | FALSE
2.1g | Lighting System Performance |  | 6 | 0 |  | 0
% Improvement from baseline = % |  | 0
Efficient Lighting Design (Advanced Green Efforts) |  |  | 1 | 0 |  | 0
• Achieving 40% Improvement • Achieving 50% Improvement | [5 empty] | FALSE | FALSE
2.1h | Building Systems Perfomance |  | 6 | 0 |  | 0
(i) Receptacle Load Efficiency |  |  | 2 | 0 |  | 0
% Improvement from baseline = % |  | 0
% of functional area = % |  | 0 |  |  |  | 0
% Improvement from baseline X % of functional area = %
(ii) Carpark Ventilation Energy |  |  | 1.5 | 0 |  | 0 | 0
• Without CO Sensor / Fume Extract = % • Wtih CO Sensor / Fume Extract • Natural Ventilation |  | 0 |  |  |  | FALSE | FALSE
(iii) Energy Use Intensity |  |  | 0.5 | 0
Met the 25th percentile of BCA's BEBR | [5 empty] | FALSE
(iv) Energy Efficient Practices and Features |  |  | 2 | 0 |  | 0
% improvement from baseline total building consumption = % |  | 0
Energy Efficient Practices and Features (Advanced Green Efforts) |  |  | 2 | 0
1 point for every 3% improvement above 4% improvement from baseline total building consumption (as above) | [5 empty] | 0
2.2 | RENEWABLE ENERGY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 8 | 0
ADVANCED GREEN EFFORTS |  |  | 5 | 0
2.2a | Solar Energy Feasibility Study |  | 0.5 | 0
For buildings ≥ 1000m2, Minimum requirement for Gold, GoldPlus and Platinum at 0.5 point
Prepare a solar feasibility report detailing: • Roof characteristics and shading considerations • Technical Solar Energy generation potential • Economics of solar installation • Roof access and safety requirements • Roof spatial optimisation recommendations | [5 empty] | FALSE
2.2b | Solar Ready Roof |  | 1.5 | 0
Demonstrate its roof design for solar readiness for ≥ 50% of feasible roof area: • Structural readiness: additional static and wind load • Electrical readiness • Spatial readiness | [5 empty] | FALSE | FALSE | FALSE
2.2c | Adoption of Renewable Energy |  | 6 | 0 |  | 0
Reduction of power consumption from the grid and building’s carbon emissions by using renewable energy. EUI ≥ 220 - 1 point for every 0.5% 50 ≤ EUI < 220 - 1 point for every 1.25% EUI < 50 - 1 point for every 2.5% EUI = % Replacement of Power Consumption with Renewable Energy = % |  | 0
0
Further Electricity Replacement by Renewables (Advanced Green Efforts) |  |  | 5 | 0 |  | 0
Further percentage replacement with renewable energy
PART 2 – SCORE |  |  |  | 0
ADVANCED GREEN EFFORTS |  |  |  | 0
Additional Notes:
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## Part 3 - RS
PART 3 – RESOURCE STEWARDSHIP
PRE-REQUISITES |  |  |  | COMPLY | COMMENTS
P.7 | Water Efficient Fittings |  |  |  |  | FALSE
3.1 | WATER | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 8 | 0
ADVANCED GREEN EFFORTS |  |  | 1 | 0
3.1a | Water Efficient Systems |  | 3 | 0
(i) Landscape Irrigation |  |  | 1 | 0 |  | 0
• Served by water efficient irrigation systems with moisture or rain sensor control - 0.5 point for every 25% of the areas % Area served by Water-efficient Systems = % • Comprised of drought tolerant plants - 0.5 point for every 20% of the area % Area served by Drought Tolerant plants = % |  | 0
0
(ii) Water Consumption of Cooling Towers |  |  | 2 | 0
• Provision of cooling tower water treatment with effective filtration system that can facilitate ≥ 7 cycles of concentration (CoC) at acceptable water quality. • Provision of device to reduce heat rejection through cooling towers | [5 empty] | FALSE | FALSE
Better Water Efficient Fittings (Advanced Green Efforts) |  |  | 1 | 0 |  | 0
• Use of better WELS rated water efficient fittings used for 100% of basin taps & mixer & dual flush flushing cisterns • Use of better WELS rated water efficient fittings used for 100% of applicable fitings as prescribed in P.7. | [5 empty] | FALSE | FALSE
3.1b | Water Monitoring |  | 2 | 0
(i) Water Monitoring and Leak Detection |  |  | 1 | 0
• Provision of private meters for all major water uses ( table 3.1b-1) • Use of smart remote metering system with alert features for leak detections and monitoring purpose. | [5 empty] | FALSE | FALSE
(ii) Water Usage Portal and Dashboard |  |  | 1 | 0
• Provision of water portal, dashboard or other equivalent forms that display metered data and trending of water consumption and cost indices by area to building management • Systems that display specific trends easily made accessible to individual tenants | [5 empty] | FALSE | FALSE
3.1c | Alternative Water Sources |  | 3 | 0 |  | 0
• AHU condensate collection where > 50% total condensate is collected • Use of NEWater • On-site recycled water • Rainwater harvesting | [5 empty] | FALSE | FALSE | FALSE | FALSE
3.2 | MATERIALS | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 18 | 0
ADVANCED GREEN EFFORTS |  |  | 7 | 0
3.2a | Sustainable Construction |  | 8 | 0
Minimum Requirement for Gold at 0.5 point, GoldPlus at 2 points, Platinum at 3.5 points
(i) Conservation and Resource Recovery |  |  | 1 | 0
• Existing structures are conserved and not demolished; OR • Existing structures are demolished with an enhanced demolition protocol, with recovery rate of > 35% | [5 empty] | FALSE | FALSE
(ii) Resource Efficient Building Design |  |  | 4 | 0 |  | 0 | 0
Optimization of concrete use through calculation of the project’s Concrete Usage Index (up to 2.5 points) and adoption of sustainable building systems (up to 1.5 points) CUI = Coverage of Sustainable Building Systems = % of CFA |  | 0
0
Use of BIM to calculate CUI (Advanced Green Efforts) |  |  | 1 | 0 |  |  | FALSE
BIM is used to compute CUI
(iii) Low Carbon Concrete |  |  | 3 | 0 |  | 0 | 0 | 0
Use of concrete with low clinker content (≤400kg/m^3) for grades up to C50/60 for ≥ 80% of the superstructure concrete by volume. Concrete Category: Use of recycled/ engineered coarse aggregates for ≥ 1.5% x GFA and/or ≥ 0.75% x GFA for use of recycled/ engineered fine aggregates. (0.5 points for every 5% replacement by mass of coarse and fine aggregates, up to 3 points) Percentage Replacement of coarse aggregates = % |  | NA |  |  |  | NA | Uncertified | 1-Tick | 2-Tick | 3-Tick | 4-Tick
|  | 0 |  |  |  |  | 0.5 | 1 | 1.5 | 2 | 2
Percentage Replacement of fine aggregates = % |  | 0
Use of Advanced Green Materials |  |  | 1 | 0
Use of SGBC-certified 4-Tick concrete | [6 empty] | 0
Use of SGBC-certified reinforcement bars for structural reinforced concrete elements | [5 empty] | FALSE | 0
3.2b | Embodied Carbon |  | 2 | 0
Minimum Requirement for GoldPlus and Platinum at 1 point |  | 0 |  |  |  | 0 | 0
Computation of the carbon footprint using BCA Online Embodied Carbon Calculator • Declaration of concrete, glass and steel (1 point) • Declaration of additional materials (0.25 points per material, up to 1 point) No. of Additional Materials declared = | [5 empty] | FALSE | 8
Provide own Emission Factors with Source Justification (Advanced Green Efforts) |  |  | 1 | 0
Through BCA’s online carbon calculator (carbon submission form) (0.25 point per material, up to 1 point) No. of Additional Materials declared = |  | 0
Compute the Carbon Footprint of the Entire Development (Advanced Green Efforts) |  |  | 2 | 0
Develop detailed carbon footprint report based on ALL the materials used within the project | [5 empty] | FALSE
3.2c | Sustainable Products |  | 8 | 0
Minimum Requirement for Gold at 2 points, GoldPlus at 3 points, Platinum at 4 points
(i) Functional Systems |  |  | 8 | 0
Specification and use of green products certified by approved local certification bodies (Singapore Green Building Council, Singapore Environmental Council in Singapore). Points Scored = |  | 0 | Key total point here or do scoring below |  |  |  | Entered score becomes invalid once building type is selected. Select "NA" for building type to allow total score to be keyed in directly. | 0
Selected | Building Type | NA |  |  |  | NA | NSB | SB w T | SB w/o T | Scoring based on total point keyed above
[6 empty] | Scoring based on total point keyed above | Non-speculative building(s) & ≥ 60% coverage | Speculative building(s) with tenanted areas & ≥ 60% coverage | Speculative building(s) without tenanted areas & ≥ 80% coverage
| External Wall (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 1 | 2 | 1 | 2
| Internal Wall (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 1 | 2 | 0.5 | 1
| Flooring (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 1 | 2 | 0.5 | 1
| Doors (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 1 | 0.5 | 0.5 | 0.25
| Ceiling (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 0.5 | 0.5 | 0.25 | 0.25
| Roofing (Base, Finish) |  |  |  |  | FALSE | FALSE | 0 | 0 | 0.5 | 0.5 | 0.5 | 0.5
(ii) Singular Sustainable Products (outside of Functional Systems) |  |  | 2 | 0
Use of sustainable products that do not fall into the functional systems in 3.2c(i). All sustainable products must cover ≥ 80% of applicable area and be certified by an approved local certification body. (0.25 point for each Hardscape, Building Service and M&E Product, up to 2 points) No. of Singular Products = |  | 0
Sustainable Products with Higher Environment Credentials (Advanced Green Efforts) |  |  | 2 | 0 |  | 0
Use of products with a very good rating (2 ticks) or above under SGBP certification scheme, as part of the functional systems or as standalone products scored under 3.2c(ii), covering ≥ 80% of applicable area. No. of Very Good Products (2-tick) = No. of Excellent Products (3-tick) = No. of Leader Products (4-tick) = |  | 0
0
0
3.3 | WASTE | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 4 | 0
3.3a | Environmental Construction Management Plan |  | 1 | 0
Effective implementation of environmental friendly programmes/ best practices during construction through setting targets, recording and monitoring, and waste minimisation. | [5 empty] | FALSE
3.3b | Operational Waste Management |  | 3 | 0
• Provision of facilities for collection and storage of different recyclable waste • Provision of food waste recycling for applicable buildings • Provision of facilities for horticultural or wood waste for recycling • Provision of separate chute for recyclables, beyond code compliance • Provision of Pneumatic Waste Conveyance System (PWCS), beyond code compliance | [5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[6 empty] | 0 | 0 | 0 | 0 | 0
PART 3 – SCORE |  |  |  | 0
ADVANCED GREEN EFFORTS |  |  |  | 0
Additional Notes:
0
0
0
0
0
0
0
0
0
0
0
NA
Scoring based on total point keyed above

## Part 4 - SHB
PART 4 – SMART & HEALTHY BUILDING
PRE-REQUISITES |  |  |  | COMPLY | COMMENTS
P.8 | Thermal Comfort |  |  |  |  | FALSE
P.9 | Minimum Ventilation Rate |  |  |  |  | FALSE
P.10 | Filtration Media for Times of Pollution |  |  |  |  | FALSE
P.11 | Low Volatile Organic Compound (VOC) Paint |  |  |  |  | FALSE
P.12 | Refrigerants |  |  |  |  | FALSE
P.13 | Sound Level |  |  |  |  | FALSE
P.14 | Permanent Instrumentation for the M&V of Air Conditioning Systems |  |  |  |  | FALSE
P.15 | Electrical Sub-Metering and Metering |  |  |  |  | FALSE
4.1 | INDOOR AIR QUALITY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
ADVANCED GREEN EFFORTS |  |  | 3 | 0
4.1a | Occupant Comfort |  | 2 | 0
(I) Indoor Air Quality (IAQ) Surveillance Audit |  |  | 1 | 0
Minimum Requirement for Gold, GoldPlus and Platinum at 0.5 point
IAQ audit carried out within one year after occupancy • Audit is based on indicative method described in SS554: 2016. • Audit is based on the reference method described in SS554: 2016. | [5 empty] | FALSE | FALSE
(ii) Post Occupancy Evaluation |  |  | 0.5 | 0
Minimum Requirement for GoldPlus and Platinum at 0.5 point
Seeking of occupant feedback through POE as a guide to improve the quality of the internal environment within one year after occupancy | [5 empty] | FALSE
(iii) IAQ Display |  |  | 0.5 | 0
Provide display systems for temperature and relative humidity at each floor and at each tenanted area. | [5 empty] | FALSE
Indoor Air Quality Trending (Advanced Green Efforts) |  |  | 2 | 0
• Provision of monitoring and trend logging of temperature, relative humidity through a centralized system • Monitoring and trend logging of common indoor air pollutants (formaldehyde) at each floor | [5 empty] | FALSE | FALSE
4.1b | Outdoor Air |  | 3 | 0
(i) Ventilation Rates |  |  | 1.5 | 0 |  | 0
Measurement and Monitoring of Outdoor Air Volume: • Outdoor airflow measured at Precool Air Handling Units (PAU) and Precool Fan Coil Units (PFCU) only; OR • Outdoor airflow measured at all air handling units (HAU) and fan coil units (FCU) Demand Control Ventilation Strategy • Use of demand control ventilation strategies to improve air quality whilst conserving energy | [5 empty] | FALSE | FALSE | FALSE
(ii) Enhanced Filtration Media |  |  | 1 | 0 |  | 0
Minimum Requirement for GoldPlus and Platinum at 0.5 point
• Permanent provision of Minimum Efficiency Rating Value (MERV) 14, (ASHRAE 52.2) or equivalent to Precool AHU’s (PAU’s) • Permanent provision of MERV 14 or F8 class of filter or equivalent to all AHUs | [5 empty] | FALSE | FALSE
(iii) Dedicated Outdoor Air System |  |  | 0.5 | 0
Provision of a dedicated outdoor air system (precool AHU / FCU system). | [5 empty] | FALSE
4.1c | Indoor Contaminants |  | 5 | 0
(i) Local Exhaust and Air Purging System |  |  | 2 | 0
• Provision of local isolation and exhaust systems to remove the source of pollutants. The exhausted air shall not be recycled to other spaces. • Provision of air purging system | [5 empty] | FALSE | FALSE
(ii) Ultraviolet Germicidal Irradiation (UVGI) System |  |  | 0.5 | 0
Provision of UVGI system in AHUs and FCUs to control airborne infective microorganisms. | [5 empty] | FALSE
(iii) More Stringent VOC limits for Interior Fittings and Finishes |  |  | 2 | 0
Use of products which are SGBP-certified Very Good or above, covering ≥80% of applicable areas within a System. Points Scored = |  | 0
(iv) Use of Persistent Bio-Cummulative and Toxic (PBT) free lighting |  |  | 0.5 | 0
Use of PBT-reduced or –free luminaries for ≥ 90% of light fittings in the project. | [5 empty] | FALSE
Zero ODP Refrigerants with Low Global Warming Potential (Advanced Green Efforts) |  |  | 1 | 0
Ozone Depleting Potential = Global Warming Potential = |  | 0
0
4.2 | SPATIAL QUALITY | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
4.2a | Lighting |  | 6 | 0
(i) Effective Daylighting for Common Areas |  |  | 2 | 0 |  | 0 | 0
Prorating the number of daylit Transient Common Spaces with Daylighting controls against the total number of applicable spaces • No. of daylit Transient Spaces = • Total No. of Transient Spaces = • % of carpark with daylighting = No carpark with more than 10 occupants |  | 0 | [6 empty] | FALSE
0
0
FALSE
(ii) Effective Daylighting for Occupied Spaces |  |  | 4 | 0 |  | 0 | 0
Daylighting simulation for Occupied Spaces • % of Occupied Spaces with access to Daylighting = % • Demonstrates Effective Mitigation of Overlit Areas |  | 0 | [6 empty] | FALSE
(iii) Quality of Artificial Lighting |  |  | 1 | 0 |  | 0
Achievement of good lighting quality for ≥ 90% of the applicable functional areas, served by the relevant luminaries. • Minimum lifespan rating of L70 ≥ 50,000 life hours • Ensuring a regular colour temperature for functional areas • Lighting design to avoid flicker and stroboscopic effects • Meeting minimum colour rendering index • LED luminaries certified by SGBP | [5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
4.2b | Acoustics |  | 2 | 0
(i) Sound Transmission Reduction |  |  | 0.5 | 0
Project demonstrates that the acoustic performance of internal partitions will be constructed to achieve Sound Transmission Class (STC) of: • 40-50 for partitions between general Office Spaces; and • 50-60 for partitions between spaces where confidential speech is required, or between M&E and occupied spaces. | [5 empty] | FALSE
(ii) Acoustic Report |  |  | 1.5 | 0
An acoustic design and verification report for the project based on the GM NRB: 2015 Technical Guide and Requirements. | [5 empty] | FALSE
4.2c | Wellbeing |  | 2 | 0
(i) Biophillic Design |  |  | 3 | 0 |  | 0
• Provision of accessible sky gardens, sky terraces, internal courtyards and rooftop gardens • ≥ 5% of the common areas to have fixed indoor planting • Building design that adopt biomimicry designs • Building design that takes after any natural shapes and forms/ creates ecological attachment to the place • Provision of images of nature for 5% of common areas | [5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
(ii) Universal Design (UD) Mark |  |  | 1 | 0 |  | 0
• UD Mark Certified or Gold Award • UD Mark GoldPLUS or Platinum Award | [5 empty] | FALSE | FALSE
4.3 | SMART BUILDING OPERATIONS | DATA INPUT | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 10 | 0
ADVANCED GREEN EFFORTS |  |  | 7 | 0
4.3a | Energy Monitoring |  | 3 | 0
(i) Energy Portal and Dashboard |  |  | 2 | 0
• Display metered data, historical data and relevant parameters • Provision of portal to tenants showing energy consumption of their leased spaces | [5 empty] | FALSE | FALSE
(ii) BAS and Controllers with Open Protocol |  |  | 1 | 0
Use of BACnet, Modbus, or any other non-proprietary protocol as the network backbone that can provide scheduled export of any chosen data points to commonly used file formats | [5 empty] | FALSE
Permanent M&V for VRF systems (Advanced Green Efforts) |  |  | 2 | 0
Provision of permanent instrument for monitoring of energy efficiency performance of VRF condensing units and air distribution subsystem. Calculated system efficiency shall be within 10% uncertainty. | [5 empty] | FALSE
Permanent M&V for Hot Water systems (Advanced Green Efforts) |  |  | 1 | 0
Incorporation of Permanent Measurement and Verification, with performance requirement similar to P.14. | [5 empty] | FALSE
4.3b | Demand Control |  | 3 | 0
(i) ACMV Demand Control |  |  | 2 | 0 |  |  |  | Binary | Occupancy-based
Use of occupancy based controls of the temperature and ventilation demand for ≥ 80% of applicable area. • Transient Area = • Occupied Area = | [7 empty] | Binary Sensing | Occupancy-based Sensing
[8 empty] | 0.5 | 1
(ii) Lighting Demand Control |  |  | 1 | 0
Use of occupancy based controls of the lighting demand to moderate brightness of the luminaries for ≥ 80% of applicable area. • Transient Area • Occupied Area | [5 empty] | FALSE | FALSE
(iii) Carpark Guidance System |  |  | 0.5 | 0
Provision of carpark guidance system | [5 empty] | FALSE
4.3c | Integration and Analytics |  | 3 | 0
(i) Basic Integration and Analytics | [5 empty] | 0 | 0
Including but not limited to: • Use adaptive control algotithms • Identify systems that deviate from expected performance • Detect equipment that run outside intended hours or settings • Monitor equipment condition for preventive maintenance • Find failed or improperly operating sensors or actuators • Number of Other Basic Features = |  | 0 |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
(ii) Advanced Integration and Analytics | [5 empty] | 0 | 0
Including but not limited to: • Whole system optimisation using a network of HVAC equipment • Integration of sub-systems to optimise resource use or improve user experience • Use of BIM ot similar applications that provide location-based visualisation of multiple sensors • Participate in a Demand Response Programme • Number of Other Basic Features = |  | 0 |  |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
(iii) Carpark Guidance System | [5 empty] | 0
• Provision of Carpark Guidance System | [5 empty] | FALSE
Additional Advanced Integration and Analytical Features (Advanced Green Efforts) |  |  | 1 | 0 |  | FALSE
Additional advanced Integration and Analytical Features beyond the points cap
4.3d | System Handover and Documentation |  | 1 | 0
Minimum Requirement for GoldPlus and Platinum at 1 point
Proper system verification and handover is executed. Project demonstrates commitment to comply to verification requirements. | [5 empty] | FALSE
Expanded Post Occupancy Performance Verification by a 3rd Party (Advanced Green Efforts) |  |  | 2 | 0 |  | 0
Within 1 year from TOP, performance verification of energy subsystems: • Lighting controls • Mechanical ventilation • Hot water system • Heat recovery system • Renewable energy systems | [5 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
Energy Performance Contracting (Advanced Green Efforts) |  |  | 1 | 0
Engagement with a SGBC-Accredited Energy Performance Contracting (EPC) firm in a suitable project that guarantees operational system efficiency over a minimum of 3 years. | [5 empty] | FALSE
PART 4 – SCORE |  |  |  | 0
ADVANCED GREEN EFFORTS |  |  |  | 0
Additional Notes:
0
0
0
0
0
0
0
0
0

## Part 5 - AGE
PART 5 – Advanced Green Efforts
5.1 | ENHANCED PERFORMANCE |  | AVAILABLE POINTS | POINTS SCORED | COMMENTS
| SECTION |  | 15 | 0
1 | Climatic Responsive Design |  | 8 | 0
2 | Building Energy Performance |  | 7 to 9 | 0
3 | Resource Stewardship |  | 8 | 0
4 | Smart & Healthy Building |  | 10 | 0
| Other Enhanced Performance criteria proposed | 0 | 15 | 0
High Impact Items
| a) Inclusion of ACT for ≥50% of A/C areas/systems |  | 2 | 0 |  | FALSE
Others, pls specify (subject to approval)
|  | 0 | 2 | 0
|  | 0 | 2 | 0
|  | 0 | 2 | 0
Medium Impact Items
| b) Inclusion of ACT for ≥30% of A/C areas/systems |  | 1 | 0 |  | FALSE
| c) Achieve A/C system efficiency (excluding air distribution) better than 0.65kW/ton for whole range from 25% to 100% of the peak cooling load (based on A/C areas). |  | 1 | 0 |  | FALSE
| d) Adoption of Smart Facilities Management (FM) |  | 1 | 0 |  | FALSE
| e) Adoption of Design for Maintainability (DfM) |  | 1 | 0 |  | FALSE
Others, pls specify (subject to approval)
|  | 0 | 1 | 0
|  | 0 | 1 | 0
|  | 0 | 1 | 0
Low Impact Items
| f) Inclusion of ACT for ≥10% of A/C areas/systems |  | 0.5 | 0 |  | FALSE
| g) Undertake adoption of Smart FM in area such as M&E services, security, environmental services etc |  | 0.5 | 0 |  | FALSE
Others, pls specify (subject to approval)
|  | 0 | 0.5 | 0
|  | 0 | 0.5 | 0
|  | 0 | 0.5 | 0
5.2 | COMPLEMENTARY CERTIFICATIONS |  | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 1 | 0
| Name of Certificate and description – eg WELL, Earthcheck etc | Name of cert | 1 | 0
5.3 | DEMONSTRATING COST EFFECTIVE DESIGN |  | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 2 | 0
| Cost Effective design |  | 1 | 0 |  | FALSE
| Cost Neutral Design |  | 2 | 0 |  | FALSE
5.4 | SOCIAL BENEFITS |  | AVAILABLE POINTS | POINTS SCORED | COMMENTS
|  |  | 2 | 0
|  | Exemplify how the project demonstrated social benefits. | 2 | 0
Exemplify how the project demonstrated social benefits.
Exemplify how the project demonstrated social benefits.
Exemplify how the project demonstrated social benefits.
PART 5 SCORE |  |  |  | 0
Additional Notes:
Exemplify how the project demonstrated social benefits.
Name of cert
Exemplify how the project demonstrated social benefits.
Exemplify how the project demonstrated social benefits.
Exemplify how the project demonstrated social benefits.

## Annexes
PART 5 – Advanced Green Efforts
% | Based on % of functional areas | Target Points | AVAILABLE POINTS | POINTS SCORED | COMMENTS
0 | % of Hawker Centres | 0 | 15 | 0
0 | % of Healthcare Facilities | 0 | 10 | 0
0 | % of Laboratory Buildings | 0 | 10 | 0
0 | % of Schools | 0 | 10 | 0
100 | % of Non-Residential Buildings excluding Annexes | 0 | 140 | 0
PART 5 SCORE |  |  |  | 0
Additional Notes:

## Tabulation (hidden)
Remark
1 |  | PART 1 | – CLIMATIC RESPONSIVE DESIGN
2 |  | P.1 | Envelope and Roof Thermal Transfer
3 |  | P.2 | Air Tightness and Leakage
4 |  | P.3 | Bicycle Parking
|  | 1.1 | LEADERSHIP
|  | 1.1a | Climatic & Contextually Responsive Brief | 0
|  | 1.1b(i) | Integrative Team | 0
|  | 1.1b(ii) | Involvement of FM Manager | 0
| BIM | 1.1b(iii) | Use of | 0
| GMAAP | 1.1c | Provision of | 0
| GGBA | 1.1c |  | 0
| ISO | 1.1c |  | 0
|  | 1.1d | Building User Guide | 0
|  | 1.1d | Sustainability Education Corner | 0
|  | 1.1d | Sustainability Awareness & Education Programme | 0
|  | 1.1d | Green Fit-out Guidelines | 0
|  | 1.1d | Displaying Green Mark Credential | 0
|  | 1.1d | Green Lease for 0% of net lettable area | 0
| Analysis | 1.2a(i) |  | 0
|  | 1.2a(ii) |  | 0
|  | 1.2a(iii) | 0% of the site coverage with Urban Heat Island migitation | 0
|  | 1.2a(iv) | Provision of electrical vehicle charging and parking infrastructure | 0
|  | 1.2a(iv) | Meet the prevailing lower bound requirement of RCPS by LTA | 0
|  | 1.2a(iv) | Provision of bicycle lots above LTA's requirement | 0
|  | 1.2a(iv) | Additional features to promote bicycle usage | 0
|  | 1.2b(i) | GnPR = 0 | 0
|  | 1.2b(ii) | Preservation of existing trees on-site | 0
|  | 1.2b(ii) | Replanting of an equivalent number of equivalent LAI for felled trees | 0
|  | 1.2b(iii) | Projects certified under NParks LEAF certification | 0
|  | 1.2b(iii) | Adoption of native species of greenery for > 50% of selected flora | 0
|  | 1.2b(iii) | Projects that scored full points under 1.2a(i) EIA | 0
|  | 1.2b(iii) | Provision of landscape management plan | 0
|  | 1.2b(iv) | Projects certified under PUB ABC Waters certification | 0
|  | 1.2b(iv) | Treatment of 0 % of total site area | 0
|  | 1.3a | Tropical Facade Performance | 0
|  | 1.3b | Non-A/C spaces covering 0 E/W facing walls | 0
|  | 1.3b | 0 A/C spaces, 0 MV spaces, 0 NV spaces | 0
|  | 1.3c | 0% of units/rooms with openings facing prevailing winds | 0
|  | 1.3c | 0% of applicable spaces meeting depth requirement | 0
|  | 1.3c | Meet CFD requirement with average wind velocity = 0 m/s | 0
|  | 1.3c | PMV = NA | 0
|  | 1.3c | Air Change Rate = 0, Air Exchange Efficiency = 0 | 0
5 |  |  | Part 1 Total Score | 0
6 |  | PART 2 | – BUILDING ENERGY PERFORMANCE
7 |  | P.4 | Air Conditioning Total System and Component Efficiency
8 |  | P.5 | Lighting Efficiency and Controls
9 |  | P.6 | Vertical Transportation Efficiency
OPTION 1: Energy Performance Points Calculator
|  | 2.1a | A/C total system efficiency is 0% improvement from baseline | 0
|  | 2.1b | Lighting System Efficiency is 0% improvement from baseline | 0
|  | 2.1c | Carpark System Energy is 0% improvement from baseline | 0
|  | 2.1d | Receptacle Energy is 0% improvement from baseline | 0
|  | 2.1e | Building Energy is 0% improvement from baseline | 0

## Report (hidden)
| 3 | 4 | 5
Green Mark Non-Residential Building (GM NRB:2015)
1 | PART 1 | – CLIMATIC RESPONSIVE DESIGN
2 | P.1 | Envelope and Roof Thermal Transfer
3 | P.2 | Air Tightness and Leakage
4 | P.3 | Bicycle Parking
5 |  | Part 1 Total Score | 0
6 | PART 2 | – BUILDING ENERGY PERFORMANCE
7 | P.4 | Air Conditioning Total System and Component Efficiency
8 | P.5 | Lighting Efficiency and Controls
9 | P.6 | Vertical Transportation Efficiency
10
11
12
13