## List of configurations
ANNEX 2 to GN 17 (Guidance on the Common Submission Dossier Template for General Medical Devices) and GN 18 (Guidance on the Common Submission Dossier Template for In Vitro Diagnostic Medical Devices)
LIST OF CONFIGURATIONS OF MEDICAL DEVICE TO BE REGISTERED
Guidelines on completing the table below: 1. For the “Name as per Device Label” column: (a) For a medical device family, list the names of the constituent members in this column. Enter the identifier associated with each constituent member in the “Identifier” column. (b) For a medical device group, list the names of the constituent medical devices in this column. Enter the identifier associated with each constituent medical device in the “Identifier” column. (c) For a medical device system, list the names of every constituent component in this column. Enter the identifier associated with each constituent component in the “Identifier” column. (d) For an IVD test kit, list the names of every constituent reagent and article in this column. Enter the identifier associated with each constituent reagent and article in the “Identifier” column. Note: For an IVD cluster, please use the "list of config (IVD CLUSTER)" worksheet. 2. For the “Identifier” column, identifier refers to a unique series of letters or numbers or any combination of these or a bar code that is assigned to a medical device by the product owner and that identifies it and distinguishes it from similar devices. Examples of an identifier for a device are a barcode, catalogue, model or part number. 3. For the “Brief Description of Item” column, give a brief description of the key distinguishing attributes or specifications of each item. This may include clinical size (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number for the medical device model. Examples of a brief description of a constituent member of a family include the following: For percutaneous transluminal coronary angioplasty (PTCA) catheters: 10 mm balloon length and 2 mm balloon diameter. 4. A list of configurations is to be provided with each FAMILY/GROUP/IVD TEST KIT/SYSTEM/IVD CLUSTER medical device application. 5. For the 'UDI-DI' or 'DM-DI' columns: (a) Update of UDI-DI or DM-DI of medical devices should be as per respective compliance date based on the risk class as stated in GN-36: Guidance on Medical Device Unique Device Identification (UDI) System. (b) DM-DI(s) column to be updated only if DM-DI available is different from UDI-DI. (c) Use comma to separate multiple UDI-DI(s) or DM-DI (s) (For eg. UDI#1, UDI#2, UDI#3). (d) If the UDI-DI or DM-DI information is not available, applicant should leave the UDI-DI/DM-DI fields in the excel file “empty” (i.e. not required to fill in any information).
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM:
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM):
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item (e.g. the key distinguishing attributes, specifications of each item (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number)

## List of config (IVD CLUSTER)
ANNEX 2 to GN 18 (Guidance on the Common Submission Dossier Template for In Vitro Diagnostic Medical Devices)
LIST OF CONFIGURATIONS OF MEDICAL DEVICE TO BE REGISTERED
Guidelines on completing the table below: To copy this worksheet, please copy and paste the full worksheet to prevent loss of formatting information. 1. This "list of config (IVD CLUSTER)" worksheet is to be completed for IVD CLUSTER only. 2. The IVD CLUSTER name should be in the format of product owner_methodology_CLUSTER Category. 3. For the “Subgroup of CLUSTER” column, indicate the subgroup category of the reageants or articles within an IVD CLUSTER, into either IVD TEST KIT, SYSTEM, FAMILY or SINGLE. 4. For the “Subgroup Name as per label” column, list the names for each subgroup as per label. 5. For the “Identifier of Subgroup” column, provide the identifier for each of the subgroup. Identifier refers to a unique series of letters or numbers or any combination of these or a bar code that is assigned to a medical device by the product owner and that identifies it and distinguishes it from similar devices. Examples of an identifier for a device are a barcode, catalogue, model or part number. Note: If the subgroup is a FAMILY, please indicate as 'not applicable'. 6. For the "Intended purpose of Subgroup" column, provide the intended purpose for each of the subgroup. 7. For the 'Name of Reagent or Article (in the subgroup) as per label" column, list down as per device label, all the reagents or articles within that subgroup. Enter the identifier associated with each reagent or article in the “Identifier” column. 8. For the “Identifier of Reagent or Article” column, provide the identifier for all the reagent and articles. Identifier refers to a unique series of letters or numbers or any combination of these or a bar code that is assigned to a medical device by the product owner and that identifies it and distinguishes it from similar devices. Examples of an identifier for a device are a barcode, catalogue, model or part number. 9. For the “Brief Description of Reagent or Article” column, give a brief description of the key distinguishing attributes or specifications of each item, including intended purpose and equation of reaction.This may include clinical size (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number for the medical device model. 10. For the "Associated Reference/Calibrator/Control" and "Associated Analyzer" column, provide the name of the associated reference, calibrators, controls and analyser. Also to include its identifier. 11. For the manufacturing site information columns, please state the names and addresses of the manufacturing sites for each of the components. If there are more than one manufacturing site for each component, please add in additional rows. For each manufacturing site, please include the ISO certificate number, issuing agency and ISO certificate expiry date. 12. For the device information columns, please state if the component is supplied sterile. If it is, please indicate the method of sterilisation. if it is not a sterile component, please fill in this column as 'Not applicable'. For sterile components, please indicate if the sterilisation validation report has been provided. if it is not sterile, please select the "Not applicable' option. State the proposed shelf life or the projected useful life for each of the components. 13. For the summary of reference agency approvals columns: Please state the reference agency to be used as the basis for abridged evaluation, the date of registration in that reference agency, the approval type, intended use as approved in the reference agency and the first year of global introduction. 14. For the 'UDI-DI' or 'DM-DI' columns: (a) Update of UDI-DI or DM-DI of medical devices should be as per respective compliance date based on the risk class as stated in GN-36: Guidance on Medical Device Unique Device Identification (UDI) System. (b) DM-DI(s) column to be updated only if DM-DI available is different from UDI-DI. (c) Use comma to separate multiple UDI-DI(s) or DM-DI (s) (For eg. UDI#1, UDI#2, UDI#3). (d) If the UDI-DI or DM-DI information is not available, applicant should leave the UDI-DI/DM-DI fields in the excel file “empty” (i.e. not required to fill in any information).
Name of Medical Device IVD CLUSTER:
No. | Components of Cluster | [8 empty] | Manufacturing site information (Including sterilisation sites) |  |  |  | Device information |  |  |  | Summary of Reference agency approval
| Subgroup type of CLUSTER (Please select one) | Subgroup Name as per label | Identifier of Subgroup (Indicate "not applicable" for FAMILY) | UDI-DI(s) | DM-DI(s) | Intended purpose of Subgroup | Name of Reagent or Article (in the subgroup) as per Label | Identifier of Reagent or Article | Brief Description of Reagent or Article | Name and Address of manufacturing site (If there are multiple sites, indicate as site 1, 2, 3….) | ISO certificate number: | ISO certificate Issuing agency | ISO certificate Expiry date | Sterility (Is the device supplied sterile) | If supplied sterile, indicate method of sterilisation | Sterilisation validation report provided? | Proposed shelf life/ projected useful life | Reference agency used as basis for abridged evaluation |  |  |  | Date of registration | Approval type and certificate number | Intended use as approved in reference agency | Year of first introduction, globally
SINGLE
[19 empty] | US FDA | US FDA | US FDA
[19 empty] | Health Canada | Health Canada | Health Canada
[19 empty] | EU | EU | EU
[19 empty] | Japan MHLW | Japan MHLW | Japan MHLW
[19 empty] | Australian TGA | Australian TGA | Australian TGA
[19 empty] | US FDA | US FDA | US FDA
[19 empty] | Health Canada | Health Canada | Health Canada
[19 empty] | EU | EU | EU
[19 empty] | Japan MHLW | Japan MHLW | Japan MHLW
[19 empty] | Australian TGA | Australian TGA | Australian TGA
[19 empty] | US FDA | US FDA | US FDA
[19 empty] | Health Canada | Health Canada | Health Canada
[19 empty] | EU | EU | EU
[19 empty] | Japan MHLW | Japan MHLW | Japan MHLW
[19 empty] | Australian TGA | Australian TGA | Australian TGA

## Example (IVD CLUSTER)
Name of Medical Device IVD CLUSTER:
No. | Components of Cluster | [8 empty] | Manufacturing site information (Including sterilisation sites) |  |  |  | Device information |  |  |  | Summary of Reference agency approval
| Subgroup type of CLUSTER (Please select one) | Subgroup Name as per label | Identifier of Subgroup (Indicate "not applicable" for FAMILY) | UDI-DI(s) | DM-DI(s) | Intended purpose of Subgroup | Name of Reagent or Article (in the subgroup) as per Label | Identifier of Reagent or Article | Brief Description of Reagent or Article | Name and Address of manufacturing site (If there are multiple sites, indicate as site 1, 2, 3….) | ISO certificate number: | ISO certificate Issuing agency | ISO certificate Expiry date | Sterility (Is the device supplied sterile) | If supplied sterile, indicate method of sterilisation | Sterilisation validation report provided? | Proposed shelf life/ projected useful life | Reference agency used as basis for abridged evaluation |  |  |  | Date of registration | Approval type and certificate number | Intended use as approved in reference agency | Year of first introduction, globally
| SYSTEM | HSA Zen Total protein reagent cartridge | PQ345 | 380740130022 |  | An IVD test intended for the quantitiative determination of total proteins in serum or plasma. | Zen Total protein Reagent Cartridge | CD5674 | 5 wells with reagents and buffers | Site 1: HSA, 11 Biopolis Drive, Singapore | TU0236541 | TUV SUD | 31st Jan 2013 | No | Not applicable | Not applicable | 24 months | US FDA |  |  |  | 2008 | 510K: K09563248 | For the quantitation of total protein in human serum. | 2009
[10 empty] | Site 2: HSA, 25 Heron Drive, USA | TA2547893 | TUV Rheinland | 31st august 2013 |  | - | - | - |  |  |  |  | - | - | - | -
[7 empty] | Zen Total protein calibrator (Cat. No.23453) | 2389 | Calibrator | HSA, 11 Biopolis Drive, Singapore | TU0236541 | TUV SUD | 31st Jan 2013 | No | Not applicable | Not applicable | 24 months | Health Canada |  |  |  | 2008 | License number: 23698 | As above | 2009
[7 empty] | Zen Advanced Clinical Chemistry System | 3560 | Analyser | HSA, 25 Heron Drive, USA | TA2547893 | TUV Rheinland | 31st august 2013 | No | Not applicable | Not applicable | 10 years | US FDA |  |  |  | 2008 | 510K: K09563248 | As above | 2009
| IVD TEST KIT | HSA Zen Albumin Reagent | ST124 | 380740167002 |  | For IVD use in the quantitative determination of albumin in human serum and plasma Zen Advanced Chemistry analyzer | Reagent 1 | CD5423-A | Buffer 1 with dye and sodium azide | ACME, 23 Achievement drive, USA | 2598763 | TUV Rheinland | 1st May 2012 | Yes | Gamma radiation | Yes | 13 months | US FDA | US FDA | US FDA | US FDA | 2007 | 510K: K07225848 | For the quantitation of albumin content in human plasma, serum and urine. | 2007
[7 empty] | Reagent 2 | CD5423-B | Buffer 2 with detergents | ACME, 23 Achievement drive, USA | 2598763 | TUV Rheinland | 1st May 2012 | Yes | Gamma radiation | Yes | 13 months | US FDA | Health Canada | Health Canada | Health Canada | 2007 | 510K: K07225849 | As above | 2007
[7 empty] | Reagent 3 | CD5423-C | PQR buffer | ACME, 23 Achievement drive, USA | 2598763 | TUV Rheinland | 1st May 2012 | Yes | Gamma radiation | Yes | 13 months | US FDA | EU | EU | EU | 2007 | 510K: K07225850 | As above | 2007
[7 empty] | Zen Chemistry Calibrator | 23124-A | Calibrator | ACME, 23 Achievement drive, USA | 2598763 | TUV Rheinland | 2nd May 2012 | Yes | Gamma radiation | Yes | 13 months | US FDA | Japan MHLW | Japan MHLW | Japan MHLW | 2007 | 510K: K07225851 | As above | 2007
[19 empty] | Australian TGA | Australian TGA | Australian TGA
[19 empty] | US FDA | US FDA | US FDA
[19 empty] | Health Canada | Health Canada | Health Canada
[19 empty] | EU | EU | EU
[19 empty] | Japan MHLW | Japan MHLW | Japan MHLW
[19 empty] | Australian TGA | Australian TGA | Australian TGA
[19 empty] | US FDA | US FDA | US FDA
[19 empty] | Health Canada | Health Canada | Health Canada
[19 empty] | EU | EU | EU
[19 empty] | Japan MHLW | Japan MHLW | Japan MHLW
[19 empty] | Australian TGA | Australian TGA | Australian TGA

## Example (IVD TEST KIT)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ HCV ELISA Test kit
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | IVD TEST KIT
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ HCV Reagent kit - Anti-HCV coated microparticles | CV750S-1 | 380740130176 |  | Anti-HCV mouse monoclonal coated in TRIS buffer.
XYZ HCV Reagent kit - Anti-HCV with conjugate | CV750S-2 | 380746130546 |  | Anti-HCV mouse monoclonal acridium labeled conjugated in TRIS buffer.
XYZ Assay Diluent | V120-D | 380740187176 |  | Phosphate buffer with recalcified human plasma
XYZ Pre-trigger solution | V120-PT | 380723476176 |  | Hydrogen peroxide
XYZ Trigger solution | V120-T | 380740167176 |  | Sodium hydroxide
XYZ Wash buffer | V120-W | 380712187176 |  | Phosphate buffered saline solution.
XYZ HCV Calibrator 1 | V120-L1 | 380740145176 |  | TRIS buffer
XYZ HCV Calibrators | V120-L | 380739130356 |  | rhHCV in TRIS buffer
XYZ HCV Controls - Positive Control | V120-C1A | 380740165926 |  | rhHCV in TRIS buffer
XYZ HCV Controls - Negative Control | V120-C2A | 380765781366 |  | human plasma

## Example (IVD SYSTEM)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ Autoblot system
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | SYSTEM
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ Autoblot system | DB612 | 380743453702 |  | Automated western blot analysis system. An open system for use with western blot kits/reagents.
XYZ 96 trays | D014 | 380784370002 |  | Accessory
XYZ Reagent bottles | D006 | 380954835002 |  | Solvent and reagent bottles
XYZ Waste bottles | D007 | 380754875873 |  | Collection of processed eluents/liquids

## Example (FAMILY)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ tracheostomy tubes
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | FAMILY
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ tracheostomy tube, 6mm | TR-1006 | 385045909176 |  | 6mm internal diameter, length 64mm
XYZ tracheostomy tube, 7mm | TR-1007 | 380453958646 |  | 7mm internal diameter, length 70mm
XYZ tracheostomy tube, 8mm | TR-1008 | 385834728599 |  | 8mm internal diameter, length 74mm
XYZ tracheostomy tube, 8mm, with obturator | TR-1008wO | 385376582370 |  | 8mm internal diameter, length 74mm with obturator