
	URBAN REDEVELOPMENT AUTHORITY


CONSERVATION & URBAN DESIGN DIVISION
	[image: image1.png]Urean
REDEVELOPMENT
AUTHORITY






LIGHTING PROPOSAL 
FOR BUILDINGs in civic district 

Project Description :
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
SECTION 1:
BUILDING LIGHTING
	            DESCRIPTION
	 BUILDING     
	PROPOSAL

	1.       For FACADE
	NEW /
HIGH RISE
	OLD /
LOW RISE
	HISTORIC /
TRADITIONAL
	

	          Kelvin (overall on facade)
	( 4 000
	2  700
	3 200
	

	          Colour Rendering Index    
	( 85
	( 85
	( 85
	

	          Lux (overall on facade)                       
	( 50
	    20
	   35
	

	          Index of Protection
	( 54
	         ( 54
	( 54
	


SECTION 2:
WALKWAY LIGHTING (For external works)
	                      
	         EXTERNAL WALKWAYS
	PROPOSAL

	         DESCRIPTION

	Celebration Route
	Heritage Link
	Retail Corridor
	Historical Area
	

	         Pole Type Design
	Very decorative
	Traditional
	Modern
	Traditional
	

	         Bollards Type Design
	Very Decorative
	Traditional
	Modern
	Traditional
	

	         Kelvin   
	> 4 000
	3 000
	4 000
	3 000
	

	         Colour Rendering Index                       
	( 85
	( 85
	( 85
	( 85
	

	         Lux
	( 50
	     ( 30
	( 40
	( 20
	

	         Uniformity
	> 0.6    
	> 0.5
	> 0.4
	> 0.4
	

	         Luminance
	High
	Low
	High
	Low
	

	         Height of Poles
	3.5 m
	3.5 m
	3.5 m 
	3.5 m  
	

	        Spacing of Poles
	9 m
	9 m
	9 m 
	9 m  
	


SECTION 3:
PARKS AND LANDSCAPING
	                     
	PARKS AND LANDSCAPING
	PROPOSAL

	         DESCRIPTION
	Traditional
	Modern
	

	         Poles Type Design
	Traditional 
	Modern
	

	         Bollards Type Design
	Traditional 
	Modern
	

	         Kelvin   
	 4 000
	4 000
	

	         Colour Rendering Index                       
	> 85
	> 85
	

	         Lux
	> 10
	> 20
	

	         Uniformity
	> 0.2    
	> 0.2
	

	         Luminance
	Low
	Low
	

	         Height of Poles 
	3.5 m
	3.5 m
	

	        Spacing of Poles
	9 m
	9 m
	


Note: Please refer to Page 2 for the technical and general guidelines for lighting proposal. 

Technical Guidelines 
For buildings that are:- 
	· Modern
· High rise (greater than 10 storeys)
	· More intense Light, >100 lux
White range of colour
Colour temperature, 4000 K
Colour rendition, >85

	
	· Architectural Features should be considered together with the surroundings

	· Traditional 
· Historic
· Low Rise
	· Moderate Brightness, 25 lux
Warm Gold and Orange
Colour temperature, 2500K
Colour rendition, >85

	
	· Roofs and architectural details should be emphasized in proportional illumination to the rest of the building and surroundings.
The night lighting concept should also give legibility to the building form.


General Guidelines
	1
	All bare light fittings and fixtures for lighting the building should be integrated with the architecture and landscape and not obstruct building features, i.e. concealed or recessed etc. Decorative fixtures will be evaluated in relation to the architectural concept. 

	2
	Safety aspects of ground/walkway level light fixtures should be considered.

	3
	Light must be free from disability glare or discomfort glare.

	4
	Flat surfaces should not be unevenly lit unless focus is to be placed on architectural features, entries art, etc.

	5
	Enough light must reach the ceilings (for example in covered walkways) to avoid gloomy conditions.

	6
	All fittings should be accessible for maintenance and replacement.

	7
	Energy efficient light sources are suggested to achieve the desired lighting effect.


PS: 
The above guidelines and technical specifications are meant to assist the designers and are not definitive.

1
DC/SL 225 (Mar 04)

[image: image1.png]