# APPENDIX 2 – TABLE A

TECHNICAL GUIDELINES FOR THE EXTERNAL NIGHT LIGHTING OF DEVELOPMENTS IN THE CENTRAL BUSINESS DISTRICT (CBD), MARINA CENTRE AND MARINA BAY

| Building Part | Type / Building Height | Color Temperature (Kelvin) | Color Rendering Ra | Illuminance (Lux) | Signage | Moving Lights | Operating Hours | Proposal* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Building Crown | 1. Commercial/Office |  |  | No control on lux level. However, lighting shall be executed sensitively to avoid glare, light trespass and light pollution. | No advertisement signages are allowed. Current signage guidelines are applicable. | Discouraged. Moderate, slow-moving kinetic lighting may be considered, based on the merits of the proposal & site adjustment | Encouraged to turn on lighting from Friday - Sunday, 7pm-11pm, and during national events and celebrations . |  |
|  | - Bldg Ht >151m - Bldg Ht =36m-150m - Bldg Ht < 35m | 4500 - 6000K 3500 - 4500K 2500 - 3500K | > 70 > 70 > 70 |  |  |  |  |  |
|  | 2. Residential/Hotel |  |  |  |  |  |  |  |
|  | - Bldg Ht >151m - Bldg Ht <150m | 3500 - 4500K 2500 - 3500K | > 70 > 70 |  |  |  |  |  |
|  | 3. Mixed-use |  |  |  |  |  |  |  |
|  | - Bldg Ht >151m - Bldg Ht =36m-150m - Bldg Ht < 35m | 4500 - 6000K 3500 - 4500K 2500 - 3500K | > 70 > 70 > 70 |  |  |  |  |  |
| Skygardens | Roof Garden |  |  |  |  |  |  |  |
|  | - Tree Uplighting | 4200K | > 70 |  |  |  |  |  |
|  | Mid-level Gardens |  |  |  |  |  |  |  |
|  | - Tree Uplighting - Soffit Space | 3000K 3000K | > 70 > 70 |  |  |  |  |  |
| Façade | 1. Commercial | 3500-6000K | > 70 |  |  |  |  |  |
|  | 2. Office | 4500 - 6000K | > 70 |  |  |  |  |  |
|  | 3. Residential/Hotel | 2500 - 3500K | > 70 |  |  |  |  |  |
|  | 4. Complex | 3500 - 6000K | > 70 |  |  |  |  |  |
| Covered Walkways |  | 2500 - 3500K | > 80 | Ave floor Lux : |  |  |  |  |
|  |  |  |  | Downlight:50- 200 |  |  |  |  |
|  |  |  |  | Indirect light:20-100 |  |  |  |  |
| Public Spaces (Landscaped areas / Plazas) |  | 2500 - 3500K | > 80 | Ave Lux >5 lux |  |  |  |  |

* To be filled in by Applicant. State "Complied, NA or Do Not Comply (provide justifications)